Process Specification for Ultrasonic Inspection of Wrought Metals

Engineering Directorate Structural Engineering Division September 2006 National Aeronautics and Space Administration Lyndon B. Johnson Space Center Houston, Texas

Process Specification for Ultrasonic Inspection of Wrought Metals

| Prepared by: | Signature on file |  | 10/2/06 |
| --- | --- | --- | --- |
|  | Ajay M. Koshti, Materials and Processes Branch/ES4 |  | Date |

| Approved by: | Signature on file |  | 10/2/06 |
| --- | --- | --- | --- |
|  | Bradley S. Files, Chief, Materials and Processes Branch/ES4 |  | Date |

| REVISIONS |
| --- |
| VERSION | CHANGES | DATE |
| Baseline | Original version | 7/26/99 |
| A | Reviewed document per QMS requirements. Updated division name, organization codes, and document numbers. | 12/19/02 |
| B | Replaced references to MIL-STD-2154 with AMS-STD-2154. (MIL-STD-2154 was canceled on November 15, 2004.) | 1/14/05 |
| C | Added NASA-STD-5009 and NASA-STD-5019 | 9/25/06 |

1.0	SCOPE

This process specification establishes the minimum requirements for ultrasonic inspection of wrought metals and wrought metal components.

# 2.0	APPLICABILITY

This specification is applicable to in-process, final, and in-service ultrasonic inspections to detect discontinuities in wrought metals and components made from wrought metals with a cross section thickness of 0.250 inch or greater.  This specification is not applicable to non-metals, composites, welds, and castings.

3.0	USAGE

This specification shall be invoked by including an inspection note on the applicable engineering drawing or by reference in a Process Specification, Task Performance Sheet, Discrepancy Report/Material Review Record or other appropriate document.  The engineering drawing or referencing document shall specify the applicable ultrasonic acceptance class.  When there are different acceptance classes for different areas on a component, the drawing shall be zoned with the acceptance class identified for each zone.  If the number of components to be inspected and the amount of coverage of each component are not specified, all components shall be examined and shall receive 100 percent ultrasonic coverage.

The standard ultrasonic inspection note for flight hardware and critical ground equipment is given in Figure 1.

Figure 1.

3.1	CLASSES

The ultrasonic acceptance class shall be specified in the inspection note or referencing document on the basis of the following:

a.	Single discontinuities – Any discontinuity producing an indication greater than the response from a reference flat-bottom hole or equivalent notch at the estimated discontinuity depth of the size given in Table 1 is not acceptable.

b.	Multiple discontinuities – Multiple discontinuities producing indications greater than the response from a reference flat-bottom hole or equivalent notch at the estimated discontinuity depth of the size given in Table 1 are not acceptable if the centers of any two of these discontinuities are less than 1 inch apart.  Not applicable to Class C.

c.		Linear discontinuities – Any discontinuity longer than the length given in Table 1 with an indication greater than the response from a reference flat-bottom hole or equivalent notch at the estimated discontinuity depth of the size given in Table 1 is not acceptable.  Not applicable to Class C.  For flight hardware, linear discontinuities are not acceptable regardless of length.

d.	Loss of back reflection – Loss of back reflection greater than the percent given in Table 1, when compared to a non-defective material in a similar part, is not acceptable when this loss of back reflection is accompanied by an increase in noise signal (at least double the normal background noise signal) between the front and back surface.  Applicable only to straight beam tests.

e.	Noise – Noise that exceeds the level given in Table 1 is not acceptable, except for reforging stock.

f.	Titanium – For Class AAA inspection of titanium, the minimum linear discontinuity length shall be 1/8 inch and the minimum response shall be same as that from 2/64 inch diameter flat bottom hole.  For Class AA inspection of titanium, the minimum linear discontinuity length shall be 1/4 inch and the minimum response shall be same as that from 2/64 inch diameter flat bottom hole.

Note:	The ultrasonic acceptance class for flight hardware shall be at least Class A.

Table 1.  Ultrasonic Acceptance Classes

| Class | Single Discontinuity Response (Diameter, inch) | Multiple Discontinuity Response (Diameter, inch) | Linear Discontinuity (Length – Response) | Loss of Back Reflection | Noise Level |
| --- | --- | --- | --- | --- | --- |
| AAA | 1/64 or 25% of 3/64 | 10% of 3/64 | 1/8 inch – 10% of 3/64 | 50% | 10% of 3/64 |
| AA | 3/64 | 2/64 | 1/2 inch – 2/64 | 50% | Alarm Level |
| A | 5/64 | 3/64 | 1 inch – 3/64 | 50% | Alarm Level |
| B | 8/64 | 5/64 | 1 inch – 5/64 | 50% | Alarm Level |
| C | 8/64 | Not Applicable | Not Applicable | 50% | Alarm Level |

3.2	INSPECTION SEQUENCE

The stage in the manufacturing process where ultrasonic inspection is performed should be specified on the engineering drawing or in the referencing document.

3.3	DISCONTIUITY ORIENTATION

Unless otherwise specified on the engineering drawing or in the referencing document, ultrasonic inspections shall be performed to detect discontinuities in all orientations.  The designer may limit the inspection to the detection of discontinuities with specific orientations by indicating the relevant orientations on the engineering drawing.  The designer and fracture analyst should determine the adequacy of inspections that are limited to specific discontinuity orientations.

3.4	SPECIAL NDE OF FRACTURE CRITICAL COMPONENTS

When implementation of fracture control requirements necessitates Special Nondestructive Evaluation (NDE) of a fracture critical component, the requirement for Special NDE shall appear in the inspection note as shown in Figure 2.   When Special NDE is required, the specific inspection procedure and inspector shall be qualified in accordance with Section 7.0.

Figure 2.

4.0	REFERENCES

The following specifications, standards, and handbooks form a part of this document to the extent specified herein.  All documents listed are assumed to be the current revision unless a specific revision is listed.  In the case of conflict between this specification and the technical requirements cited in other referenced documents, the requirements of this document take precedence.

AMS-STD-2154		Inspection, Ultrasonic, Wrought Metals, Process For

MSFC-STD-1249	Standard NDE Guidelines and Requirements for Fracture Control Programs

NASA-STD-5009	Nondestructive Evaluation Requirements for Fracture Critical Metallic Components

NAS 410				NAS Certification & Qualification of Nondestructive

Test Personnel

NASA-STD-5003	Fracture Control Requirements for Payloads Using the Space Shuttle

# NASA-STD-5019	fracture Control Requirements for Spaceflight Hardware

SSP 30558	Fracture Control Requirements for Space Station

The following references were used to develop this process specification:

SOP-007.1	Preparation and Revision of Process Specifications (PRC’s)

JSC 8500	Engineering Drawing System Requirements

5.0	MATERIAL REQUIREMENTS

Couplant and test block materials shall be in accordance with AMS-STD-2154.

6.0	PROCESS REQUIREMENTS

6.1	GENERAL

Ultrasonic inspections shall be performed in accordance with AMS-STD-2154 except as modified by this specification.

6.2	WRITTEN PROCEDURES

A detailed written procedure shall be prepared for each part to be inspected.  The procedure shall meet the requirements of this specification and shall ensure the consistency and reproducibility of the inspection at the required sensitivity level.  General procedures covering a variety different parts may be used provided they meet the requirements of this procedure and clearly apply to the parts to be inspected.  When general procedures are used, a written part specific technique shall be prepared.  At a minimum, the part specific procedure or the general procedure and part specific technique shall cover all of the information required by AMS-STD-2154.

For work performed at JSC facilities, written procedures should consist of Detailed Process Instructions (DPIs) selected for use from the DPI-6504-XX series of work instructions.

6.3	SCAN PLAN

Unless otherwise specified on the engineering drawing or in the referencing document, scan plans shall be designed to detect discontinuities in all orientations.  The scan plan shall specify the surfaces from which inspections are to be performed, the ultrasonic beam paths, the scan paths, and the scanning index.

6.4	FRACTURE CRITICAL COMPONENTS

Ultrasonic inspections of fracture critical components shall be performed in accordance with the process requirements in MSFC-STD-1249 or NASA-STD-5009, whichever applicable.  The requirements in MSFC-STD-1249  or NASA-STD-5009 not otherwise covered in this specification are included in the following:

a.	Surface finishes shall be 125 RMS or better;

b.		Inspections shall be performed with the ultrasonic beam direction as close to perpendicular to the relevant discontinuity orientation as possible;

c.	The inspection surfaces shall not be coated; and

d.	The component shall not be loaded in compression.

When Special NDE is specified by the engineering drawing or referencing document, the inspection procedure and inspector shall be qualified in accordance with Section 7.0.

7.0	SPECIAL NDE QUALIFICATION

Use of Special NDE in accordance with NASA-STD-5003, SSP 30558 or NASA-STD-5019 requires formal demonstration of the capability to detect flaws at least as small as the critical initial crack size for the specific component to a 90/95 detection level. Each procedure, procedure application, and operator must demonstrate the required capability.  Requests for Special NDE qualification shall be directed to the JSC Materials and Processes Branch (ES4).

## 8.0	DEVIATIONS AND WAIVERS

Any deviations or waivers regarding the use of this process specification shall be requested in writing.  This request shall be directed to the JSC Materials and Processes Branch (ES4) with the appropriate justification and rationale.  A written response will be provided upon such a request.

9.0	TRAINING AND CERTIFICATION OF PERSONNEL

Personnel performing ultrasonic inspections shall be qualified and certified in accordance with NAS 410. Personnel making accept/reject decisions shall be certified to at least Level II. Personnel performing inspections on fracture critical components shall, at a minimum, be certified to Level II.

For work performed at JSC facilities, these requirements may be satisfied by the training and certification of personnel per the TI-6504-XX series of Training Instructions (TIs).

10.0	DEFINITIONS

90/95  	The point where the 95% lower confidence bound on the

Probability of Detection (POD) vs. flaw size curve crosses 90% POD or 90% POD with 95% lower confidence bound.

Discontinuity	An intentional or unintentional interruption in the physical structure or configuration of a material or component that may be detectable by nondestructive testing; a flaw. Discontinuities are not necessarily rejectable.

Final Inspection	The final inspection performed for the acceptance of the component.

Fracture Critical	Classification which assumes that fracture or failure of the

Component	component resulting from the occurrence of a crack will result in a catastrophic hazard.  Fracture critical components will be identified as such on the engineering drawing.

Indication	Evidence of a discontinuity that requires interpretation to determine its significance.

In-Process	Inspections that occur during manufacturing before a component is in final form.

In-Service	Inspections performed on components that are in use or storage.

Special NDE	A fracture control term denoting nondestructive inspection personnel, procedures, and equipment with a demonstrated capability to reliably (90/95) detect flaws smaller than those normally detected by Standard NDE procedures.

Wrought Metals	Wrought metals include forging stock, forgings, rolled billet or plate, extruded or rolled bars, and extruded or rolled shapes.

# Text boxes

PERFORM ULTRASONIC INSPECTION PER JSC PRC-6504, CLASS A.

PERFORM ULTRASONIC INSPECTION PER JSC PRC-6504, CLASS A.  SPECIAL NDE QUALIFICATION REQUIRED.