COMPLIANCE IS MANDATORY

| Responsible Office: |  | Code 549/Environmental Test Engineering and Integration Branch |
| --- | --- | --- |
| Title: | Code 549 Configuration Management Plan |  |

Preface

- PURPOSE

The purpose of this document is to establish the Configuration Management (CM) Plan for configuration control of Code 549 managed facilities and associated documentation.  Products that are developed by Code 549 for delivery to GSFC flight projects will utilize the flight project specific configuration management system in accordance with the applicable flight project Configuration Management Plan.

- APPLICABILITY

This document describes the Configuration Management System utilized by Code 549 for the following Groups:

- Structural Dynamics Test Engineering

- Electromagnetic Test Engineering

- Space Simulation Test Engineering

- Integration and Flight Project Support

    - Electrical Cable and Harness Fabrication

    - Thermal Blanket Fabrication

    - Mechanical Integration

    - Cleanroom and Clean Tent Facilities

- Building and Plant Support Systems

- Code 549 Quality Management Documentation

Included in this configuration management plan are configuration baselines, configured items identification, controlling changes to configured items and controlled documents, maintaining status tracking/accounting records, and information dissemination.

- AUTHORITY

Code 549 Branch Head:

The Code 549 Branch Head is responsible for developing and maintaining the Configuration Control Process, and has authority for approving baselines and configuration changes for all Code 549 elements.

Authority for Configuration Management of specific elements is delegated as follows:

| Code 549 Element | Configuration Control Authority | Reference |
| --- | --- | --- |
| Structural Dynamics Test Engineering | Process Owner | Structural Dynamics Test Engineering Section Process Management Plan 549-PG-8700.1.2A |
| Electromagnetic Test Engineering | Process Owner | Electromagnetic Test Engineering Section Process Management Plan 549 PG-8700.1.4A |
| Space Simulation Test Engineering | Process Owner | Space Simulation Test Engineering Section Process Management Plan 549-PG-8700.1.3A |
| Building and Plant Support Systems | Facility Operations Manager for Building 7,10,15,29 | None |
| Electrical Cable and Harness Fabrication | Product Design Lead | Section 5.1 of Function Level Procedure Harness/Cable Fabrication 549-PG-8072.0.1 |
| Thermal Blanket Fabrication | Product Design Lead | Section 5.1 of Function Level Procedure Thermal Systems Support 549-PG-8071.0.2 |
| Mechanical Integration | As Identified Per Flight Project Work Order Authorization (WOA) | Section 6.1.1 of Function Level procedure Mechanical Integration 09PC-FP05 |
| Cleanroom and Clean Tent Facilities | Facility Operations Manager for Building 7, 10, 15, 29 | None |
| Code 549 Quality Documentation Special Facility Procedure | Code 549 Branch Head Code 549 Branch Head | None None |

Process Owners are responsible for:

- Maintaining the list of Configured Items (CIs) under their authority

- Approving the Baseline Configuration of CIs under their authority

- Reviewing and approving Configuration Change Requests (CCRs) for CIs under their authority

- Reviewing and approving CI documentation

- Ensuring that CI documentation is stored in the Code 549 Data Repository

The Facility Operations Manager is responsible for:

- The review and approval of modifications to the structural or plant support system configurations of buildings 7/10/15/29 including cleanrooms and clean tents

- Ensuring that documentation for buildings 7/10/15/29 structural configuration, plant support systems, cleanrooms, and clean tents is stored in the Code 549 Data Repository

Product Design Leads are responsible for:

a. Review and approval of the hardware test configuration.

b. Review and approval of hardware test plan Configuration Change Requests

c. Reviewing and approving CI documentation

- REFERENCES

GPR 1410.1		Directives Management

GPR 1410.2		Configuration Management

GPR 5310.4		Identification and Traceability of Products

500-PG-8700.2.3	Issue and Management of Engineering Drawing Numbers

500-PG-8700.2.5	GSFC Engineering Standards Design Manual

549-PG-8700.1.2	Structural Dynamics Test Engineering Section Process Management Plan

549-PG-8700.1.3	Space Simulation Test Engineering Section Process Management Plan

549 PG-8700.1.4	Electromagnetic Test Engineering Section Process Management Plan

549-PG-8072.0.1	Harness/Cable Fabrication

549-PG-8071.0.2	Thermal Systems Support

09PC-FP05		Function Level procedure Mechanical Integration

05DC-WI01		Quality System Document Repository Process Work Instruction

549-WI-8700.2.1	Engineering Drawing Control Work Instruction

05DC-WI04		Software Configuration

- CANCELLATION

549-PG-1410.2.1

P.6	SAFETY

N/A

P.7	TRAINING

None

P.8	RECORDS

| Record Title | Record Custodian | Retention |
| --- | --- | --- |
|  |  | * |
|  |  | * |

* NRRS – NASA Records Retention Schedule (NPR 1441.1)

P.9	MEASUREMENT/VERIFICATION

None

Procedures

In this document, a requirement is identified by “shall,” a good practice by “should,” permission by “may” or “can,” expectation by “will,” and descriptive material by “is.”

- Configuration Items

Code 549 items to be placed under configuration control are those items that are used to manufacture or qualification test space flight hardware, or those items that directly impact the ability of Code 549 to manufacture or test space flight hardware such as building electrical power. The following types of items shall be under configuration control:

- Environmental test equipment including control software

- Environmental test support equipment such as test fixtures

- Environmental Test Instrumentation Systems including Data Acquisition and Analysis Software

- Flight Project Thermal Blankets

- Flight Project Cables and Cable Harness Assemblies

- Building and plant systems that support environmental test equipment, cleanrooms, and integration activities.

- Cleanrooms and Clean Tents

Controlled Configured Item categories and descriptions are as follows:

| Environmental Test Facilities: Code 549 Level |  |
| --- | --- |
| Baseline drawings | Facility and equipment drawings including electrical, mechanical, piping diagrams or parts lists. |
| Support Documentation | Documents required for operation of a facility including setup, handling, and operating procedures. |
| COTS software | Vendor supplied software such as facility operating systems, data acquisition, data reduction systems, or control systems. |
| User Developed Application Software | Documentation of user developed application software including macros used for facility control, data acquisition, data display, and data analysis. Documentation includes code listings, code descriptions, and user manual. |
| Test Related Items: Items related to specific tests conducted by Code 549 and contractor |  |
| Test unique macro software | Test unique macros used to operate the facility or perform data reduction that affects safety, required test conditions, or data manipulation. |
| Production test parameters | Production test parameters not included in the test folio used to operate the facility or perform data reduction that affects safety, required test conditions, or data manipulation. Can include NASTRAN models. |
| Engineering Drawings | Test fixture design drawings, lift sling drawings, |
| Test Procedures Special Facility Test Procedures | Procedures that define the test sequence Procedures that are designed to test or verify facility characteristics or parameters, and may increase risk to flight hardware that is currently in place using the facility. This procedure would normally be conducted on an informal basis, however the presence of flight hardware requires a “Special” designation. Unless otherwise directed by the affected flight project, the procedure shall be conducted under the authority of a project Work Order Authorization. |
| Integration Support Items: Related to flight project support items. |  |
| Engineering drawings | These include items such as: lift slings, purge systems, ground support hardware, cable and harness schematics, thermal blanket drawings, and pressure systems |

- Configuration Identification

2.1	Baseline

A baseline is established when the software, hardware, or drawing is approved by the appropriate configuration control authority and released for use.

Baselines are documented by approved configuration identification, documents, and drawings that are the basis for control of changes to the Configured Item (CI). Once a configuration baseline is established, changes must be documented via a Configuration Change Request (CCR) form or its equivalent. CCRs are reviewed and approved by the appropriate configuration control authority. The Code 549 Environmental Test and Integration Configuration Change Request form is attached.

2.2	Documents

All Code 549 controlled documents, except for drawings, shall be assigned a unique document control number. The control, revision, storage, and distribution process for Code 549 configuration controlled documents are described in this document for documents controlled in the GDMS system and in Work Instruction 05DC-WI01, Quality System Document Repository Process.

Documents shall have a cover sheet that includes the document title, name and organization code of responsible organization, an approval/effective date, and a document control number.

  - Code 549 Test Procedures

All environmental testing on flight critical hardware shall require an “approved and released” Code 549 Test Procedure. As a minimum, the 549 test engineer signature is required together with a “Procedure Released” stamp.

2.4	Drawings

The development and control of engineering drawings is specified in the Engineering Drawing Control Work Instruction 05DC-WI03.

- Change Processing

3.1	Document Change Process

Changes to controlled documents are initiated in one of two manners:

If there is a change to a controlled configured item in the Environmental Test Facility category, a CCR form will be completed. The CCR and any necessary attachments will be submitted to the configuration control authority for review and approval. The configuration control authority will ensure that all appropriate technical review and approval has been completed prior to his approval.  After the CCR is approved, the change will be effected and documented as required. The revised configuration item documentation will be submitted to the Code 549 Data Depository.

If there is a “Class 1” change to a controlled configured item in the Test Related Items category, the changes will be redlined, initialed and dated by both the project test engineer and the code 549 test engineer. A “Class 2” change will be initialed by the code 549 test engineer.

See paragraph 3.2 for the engineering drawing change process.

3.2	Drawing Change Process

Drawing changes are performed in accordance with Work Instruction 549-WI-8700.2.1, Engineering Drawing Control. The appropriate configuration control authority reviews and approves proposed changes.

Changes can also be made as redline changes to drawings for class 2 changes. These changes will be incorporated in the configuration managed electronic drawing version.

  - Special Test Procedures	(see “Test Related Items” Sec.1 for definition)

Special Facility Test Procedures are performed under the authority of a flight project Work Order Authorization (WOA), however the procedure shall specifically identify the authority required for making redlined changes during execution of the procedure. Aspects of the procedure that may increase risk to flight hardware shall be under the flight project change control authority, however aspects of the procedure that only involve the facility shall be under Code 549 change control authority. The degree to which the flight project needs to participate in the execution of the procedure is at the discretion of the Project Manager.

4.0	Change Implementation

4.1	Document Change Record Sheet

All CM controlled documents in the Environmental Test Facilities category will contain a Change  History Log sheet that identifies changes within the document.

4.2	Document Revision

A revision is a complete reissue of a document. Identification numbers for revised documents will be the original identification number followed by a sequential revision letter or number. Each revised document will include all changes that have previously been approved. No editorial or other changes will be made during revisions unless approved by the Approval Authority.

Code 549 Environmental Test and Integration Configuration Change Request (CCR)

- CCR Title: (item name and number)

- Originator/Code/email

3. Code 549 Element 1. Structural Dynamics Test Engineering Group 5. Electrical Cable and Harness Fabrication 2. Electromagnetic Test Engineering Group 6. Thermal Blanket Fabrication 3. Space Simulation Test Engineering Group 7. Cleanroom and Clean Tent Facilities 4. Buildings 7,10,15,29 and Plant Support Systems 8. Code 549 Quality Documentation

4. Configuration Item Identification:

5. Reason for Change:

6. Change From:

7. Change To:

8. Affected Documentation:

9. Reviewed By:

10. Approved By:

Appendix A - Definitions

A.1	Electronic file repository- is used to store electronic engineering files in necessary file formats such as Autocad or ProE

A.2	Class 1 Change - A proposed change to hardware or software for Code 549 environmental test facility, flight project hardware or test software that impacts the form, fit, or function of the configuration item

A.3	Class 2 Change - A proposed change that does not fall within the definition of a Class 1 Change. This includes changes of an editorial nature or minor corrections to drawings. This does not include software.

A.4	Configuration Baseline - The point at which the configuration item (hardware or software) is considered “released” and any changes to that documentation must be tracked and/or approved to maintain function or traceability. This includes software and algorithms that are use in testing or data reduction and must be tracked to maintain traceability of how the test item was tested or the data reduced.

A.5	Configuration Change/Release Request (CCR)- A documented request to issue, change, revise, or delete a controlled document.

A.6	Configuration Documentation - the technical documentation that identifies and defines a configured item’s functional and physical characteristics.

A.7	Configuration Identification – The process that applies identification conventions to configured items, e.g., unique numbering systems, etc.

A.8	Configuration Management - The systematic control and evaluation of all changes to baseline design and documentation.

A.9	Configured Item (CI) – Configuration Items are hardware, software, or documents that are under a formal change control process

A.10	Status Accounting – Maintenance of records and production of reports concerning configuration items, baseline of those items, and the change process of those items. This includes maintaining the Controlled Documents List and status of items in the change process.

CHANGE HISTORY LOG

| Revision | Effective Date | Description of Changes |
| --- | --- | --- |
| Baseline | 07/12/2001 | Initial Release |
| A | 05/12/2006 | - References Updated - Template Updated - CCR Form Updated - Section 3.3 Added; Section 3.1 changed - Table 7 Modified - Minor Text Editing Throughout Document |
| B | 11/02/2012 | Update referenced document nomenclatures and updated to new template. |